{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":13,"n_cols":12,"rows_kept":13,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["建築物の種別","構造形式","北緯",null,null,"東経",null,null,"構造の損傷","浸水深（地盤からm）","幅×奥行き（×高さ）[m]","コメント"]
["製氷貯氷塔","S-4F（1FのみRC）",39,44,4.1,141,58,39.7,"無し",14.3,"6x11.7","4F天井、破損あり"]
["カソリンスタンド？","RC",39,44,14.4,141,58,31.5,"無し","屋根以上","16×8×4.9","開口部壁面破損"]
["宿舎？","RC",39,44,10.2,141,58,30.1,"あり","屋根以上","20×6.5","堤防の衝突により前面の柱が損傷"]
["田老観光ホテル","S-6F",39,44,16.2,141,58,32.3,"無し","3Fまで浸水","？","3Fまで浸水"]
["倉？","RC",39,44,14.6,141,58,18.9,"無し",4.4,"8×4×5.3"]
["ピンクの建物","RC-2F",39,44,14.1,141,58,17.8,"無し",4.4,"7×7x6.8"]
["民家","RC-2F",39,44,16.8,141,58,20.7,"無し",3.5,"5x18x6"]
["田老漁協","RC-3F",39,44,18.6,141,58,20.9,"無し",3.1,"20x20"]
["倉？","RC",39,44,20.8,141,58,20.5,"無し",2.5,"6x5"]
["店舗？","S-2F",39,44,8.4,141,58,15.7,"無し","2Fまで浸水","10x16"]
["店舗？","RC-2F",39,44,7.8,141,58,16.3,"？",4.7,"13x13","2Fの壁大きく損傷"]
["民家","S-2F",39,44,7.5,141,58,13.6,"無し",4.5,"8x10","1F駐車場"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}